## Facilities
Facility ID | Facility Name | Address Line 1 | Address Line 2 | City | State | ZIP | Latitude (°N) | Longitude (°E) | Total Rated Electric Generation (kW) | Total Rated Heat Generation (MBtu/h) | Total Rated Electrical Discharge Capacity (kW) | Total Rated Electrical Storage Capacity (kWh) | Total Rated Cooling Energy Discharge Capacity (ton) | Total Equivalent Electrical Discharge Capacity from Cooling Sources (kW) | Total Rated Cooling Energy Storage Capacity (ton-hour) | Total Equivalent Electrical Storage Capacity from Cooling Sources (kWh) | Total Rated Thermal Energy Discharge Capacity (MBtu/h) | Total Equivalent Electrical Discharge Capacity from Thermal Sources (kW) | Total Rated Thermal Energy Storage Capacity (MBtu) | Total Equivalent Electrical Storage Capacity from Thermal Sources (kWh) | Facility Submits Data on Electricity Imported from Utility? | Source Weather Station for Ambient Temperature Data | Metric Data Last Modified | Installed Systems | Alternate Name(s) | Facility Website (external) | Category | Subcategory | Floor Area (ft²) | No. of Occupancy Units | Electric Utility | Gas Utility | NYISO Zone | Located in Flood Plain
422 | Marcus Garvey Apartments | 353 Chester St |  | Brooklyn | NY | 11212 |  |  | 899.709 | 0 | 300 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:53 | 1 | Marcus Garvey Housing Complex | https://www.marcusgarveyapartments.com/ | Residential | Multifamily |  |  | Consolidated Edison | Consolidated Edison | J - New York City
489 | Gateway Center | 501 Gateway Dr |  | Brooklyn | NY | 11239 |  |  | 756 | 0 | 4800 | 16440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-05-29 21:11 | 4 | Gateway Mall |  | Mercantile (Enclosed and Strip Malls) | Enclosed Mall |  |  | Consolidated Edison |  | J - New York City
635 | Glenwood - Liberty Plaza | 10 Liberty St |  | New York | NY | 10005 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:52 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
636 | Glenwood - Emerald Green | 320 W 38th St |  | New York | NY | 10018 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:52 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
637 | Glenwood - Barclay Tower | 10 Barclay St |  | New York | NY | 10007 |  |  | 0 | 0 | 225 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:53 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
638 | Glenwood - The Brittany | 1775 York Ave |  | New York | NY | 10128 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:53 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
639 | Glenwood - The Barclay | 1755 York Ave |  | New York | NY | 10128 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:53 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
640 | Glenwood - Paramount Tower | 240 E 39th St |  | New York | NY | 10016 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:53 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
641 | NYC Health + Hospitals/Jacobi Campus | 1400 Pelham Pkwy S |  | Bronx | NY | 10461 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-03-12 19:44 | 1 |  | https://www.nychealthandhospitals.org/jacobi/ | Health Care (Inpatient) | Hospital |  |  | Consolidated Edison |  | J - New York City
642 | Glenwood - Crystal Green | 330 W 39th St |  | New York | NY | 10018 |  |  | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
643 | Glenwood - The Bristol | 300 E 56th St |  | New York | NY | 10022 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
644 | Glenwood - The Lucerne | 350 E 79th St |  | New York | NY | 10075 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
645 | Glenwood - Grand Tier | 1930 Broadway |  | New York | NY | 10023 |  |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
646 | Glenwood - Briar Hill | 600 W 246th St |  | Bronx | NY | 10471 |  |  | 0 | 0 | 125 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
647 | Glenwood - Hawthorn Park | 160 W 62nd St |  | New York | NY | 10023 |  |  | 0 | 0 | 125 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:54 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
648 | Glenwood - The Fairmont | 300 E 75th St |  | New York | NY | 10021 |  |  | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:55 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
650 | 7-Eleven | 58-20 Francis Lewis Blvd |  | Flushing | NY | 11364 |  |  | 0 | 0 | 27.2 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:55 | 1 |  |  | Food Sales | Convenience Store |  |  | Consolidated Edison |  | J - New York City
651 | UPS Distribution Center | 643 W 43rd St |  | New York | NY | 10036 |  |  | 0 | 0 | 153 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:55 | 1 |  |  | Warehouse and Storage | Distribution or Shipping Center |  |  | Consolidated Edison |  | J - New York City
681 | Red Hook Recreation Center | 155 Bay St |  | Brooklyn | NY | 11232 |  |  | 0 | 0 | 6 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:56 | 1 |  |  | Public Assembly | Recreation |  |  | Consolidated Edison |  | J - New York City
750 | Brooklyn Army Terminal | 140 58th St |  | Brooklyn | NY | 11220 |  |  | 0 | 0 | 100 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2019-04-04 18:57 | 1 |  |  | Manufacturing | Miscellaneous |  |  | Consolidated Edison |  | J - New York City
938 | Con Edison BQDM Utility Sided Solution |  |  | Ozone Park | NY | 11416 |  |  | 0 | 0 | 2000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KJFK | 2019-06-24 17:31 | 1 |  |  | Offsite Resource | Utility Support |  |  | Consolidated Edison |  | J - New York City
981 | Via Verde | 700 Brook Ave |  | Bronx | NY | 10455 |  |  | 0 | 0 | 18 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | Custom | 2019-08-02 14:03 | 1 |  |  | Residential | Multifamily |  |  | Consolidated Edison |  | J - New York City
1122 | Home A in zip code 10504 |  |  | Armonk | NY | 10504 |  |  | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-06 22:13 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
1206 | Facility A in 10031 |  |  | New York | NY | 10031 |  |  | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-06 22:17 | 1 | [6 empty] | Consolidated Edison |  | J - New York City
1412 | Caddell Dry Dock & Repair Co | 1515 Richmond Terrace |  | Staten Island | NY | 10310 |  |  | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-06 22:40 | 1 |  |  | Manufacturing | Transportation Equipment |  |  | Consolidated Edison |  | J - New York City
1436 | Home A in 11692 |  |  | ARVERNE | NY | 11692 |  |  | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KJFK | 2020-11-06 22:44 | 1 |  |  | Residential | Single-family detached |  |  | Long Island Power Authority (PSEG-LI) |  | J - New York City
1511 | Home A in 10553 |  |  | Mount Vernon | NY | 10553 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-11 17:04 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
1515 | Home A in 10301 |  |  | Staten Island | NY | 10301 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-11 17:20 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
1525 | Home A in 10803 |  |  | Pelham | NY | 10803 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2020-11-11 17:22 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
1551 | Home A in 11693 |  |  | Sag Harbor | NY | 11693 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KJFK | 2021-04-16 20:58 | 1 |  |  | Residential | Single-family detached |  |  | Long Island Power Authority (PSEG-LI) |  | K - Long Island
1696 | Home B in 10803 |  |  | Pelham | NY | 10803 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KLGA | 2021-03-05 22:20 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
1722 | Home B in 11704 |  |  | West Babylon | NY | 11704 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KISP | 2020-11-09 21:36 | 1 |  |  | Residential | Single-family detached |  |  | Long Island Power Authority (PSEG-LI) |  | J - New York City
1741 | Home A in 11755 |  |  | Lake Grove | NY | 11755 |  |  | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KISP | 2020-11-09 21:39 | 1 |  |  | Residential | Single-family detached |  |  | Long Island Power Authority (PSEG-LI) |  | J - New York City
1751 | Home B in 11776 |  |  | Port Jefferson Station | NY | 11776 |  |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KISP | 2020-11-09 21:41 | 1 |  |  | Residential | Single-family detached |  |  | Long Island Power Authority (PSEG-LI) |  | J - New York City
1811 | Home C in 12583 |  |  | Tivoli | NY | 12583 |  |  | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FALSE | KPOU | 2020-11-09 21:51 | 1 |  |  | Residential | Single-family detached |  |  | Central Hudson Gas and Electric |  | J - New York City
2088 | Home A in 10452 |  |  | Bronx | NY | 10452 |  |  |  |  | 17.25 | [9 empty] | FALSE | KLGA | 2021-02-08 15:07 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
2089 | Home A in 10505 |  |  | Baldwin Place | NY | 10505 |  |  |  |  | 11.6 | [9 empty] | FALSE | KHPN | 2021-02-08 15:07 | 1 |  |  | Residential | Single-family detached |  |  | New York State Electric and Gas |  | J - New York City
2092 | Home A in 10550 |  |  | Mount Vernon | NY | 10550 |  |  |  |  | 250 | [9 empty] | FALSE | KLGA | 2021-02-08 15:07 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City
2237 | Facility A in 11217 |  |  | Brooklyn | NY | 11217 |  |  |  |  | 800 | [9 empty] | FALSE | KLGA | 2021-03-18 20:25 | 1 | [6 empty] | Consolidated Edison |  | J - New York City
2243 | Home C in 10705 |  |  | Yonkers | NY | 10705 |  |  |  |  | 7 | [9 empty] | FALSE | KLGA | 2021-03-18 20:25 | 1 |  |  | Residential | Single-family detached |  |  | Consolidated Edison |  | J - New York City

## Systems
System ID | Facility ID | Facility Name | System Name | System Rated Electric Generation (kW) | System Rated Heat Generation (MBtu/h) | System Rated Electrical Discharge Capacity (kW) | System Rated Electrical Storage Capacity (kWh) | System Rated Cooling Energy Discharge Capacity (ton) | System Equivalent Electrical Discharge Capacity from Cooling Sources (kW) | System Rated Cooling Energy Storage Capacity (ton-hour) | System Equivalent Electrical Storage Capacity from Cooling Sources (kWh) | System Rated Thermal Energy Discharge Capacity (MBtu/h) | System Equivalent Electrical Discharge Capacity from Thermal Sources (kW) | System Rated Thermal Energy Storage Capacity (MBtu) | System Equivalent Electrical Storage Capacity from Thermal Sources (kWh) | Installed Projects | Installed Resources
409 | 422 | Marcus Garvey Apartments | Microgrid | 479.709 | 0 | 300 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3
620 | 635 | Glenwood - Liberty Plaza |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
621 | 636 | Glenwood - Emerald Green |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
622 | 637 | Glenwood - Barclay Tower |  | 0 | 0 | 225 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
623 | 638 | Glenwood - The Brittany |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
624 | 639 | Glenwood - The Barclay |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
625 | 640 | Glenwood - Paramount Tower |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
626 | 641 | NYC Health + Hospitals/Jacobi Campus |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
627 | 642 | Glenwood - Crystal Green |  | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
628 | 643 | Glenwood - The Bristol |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
629 | 644 | Glenwood - The Lucerne |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
630 | 645 | Glenwood - Grand Tier |  | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
631 | 646 | Glenwood - Briar Hill |  | 0 | 0 | 125 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
632 | 647 | Glenwood - Hawthorn Park |  | 0 | 0 | 125 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
633 | 648 | Glenwood - The Fairmont |  | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
636 | 650 | 7-Eleven |  | 0 | 0 | 27.2 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
637 | 651 | UPS Distribution Center |  | 0 | 0 | 153 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3
666 | 681 | Red Hook Recreation Center |  | 0 | 0 | 6 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
737 | 750 | Brooklyn Army Terminal |  | 0 | 0 | 100 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
933 | 938 | Con Edison BQDM Utility Sided Solution |  | 0 | 0 | 2000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
978 | 981 | Via Verde |  | 0 | 0 | 18 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1120 | 1122 | Home A in zip code 10504 |  | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1204 | 1206 | Facility A in 10031 |  | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1345 | 489 | Gateway Center |  | 0 | 0 | 2400 | 8220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1346 | 489 | Gateway Center |  | 0 | 0 | 2400 | 8220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1412 | 1412 | Caddell Dry Dock & Repair Co |  | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1435 | 1436 | Home A in 11692 |  | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1510 | 1511 | Home A in 10553 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1514 | 1515 | Home A in 10301 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1524 | 1525 | Home A in 10803 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1550 | 1551 | Home A in 11693 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1695 | 1696 | Home B in 10803 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1721 | 1722 | Home B in 11704 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1740 | 1741 | Home A in 11755 |  | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1750 | 1751 | Home B in 11776 |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1810 | 1811 | Home C in 12583 |  | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
1969 | 2088 | Home A in 10452 |  |  |  | 17.25 | [9 empty] | 1 | 1
1970 | 2089 | Home A in 10505 |  |  |  | 11.6 | [9 empty] | 1 | 1
1973 | 2092 | Home A in 10550 |  |  |  | 250 | [9 empty] | 1 | 1
2118 | 2237 | Facility A in 11217 |  |  |  | 800 | [9 empty] | 1 | 1
2124 | 2243 | Home C in 10705 |  |  |  | 7 | [9 empty] | 1 | 1

## Projects
Project ID | System ID | Facility ID | Facility Name | System Name | Project Name | NYSERDA Contract Name | Contracted Capacity (kW) | Commercial Operation Date | Facility NYISO Zone | Technology | Project Rated Electric Generation (kW) | Project Rated Heat Generation (MBtu/h) | Project Rated Electric Discharge Capacity (kW) | Project Rated Electric Storage Capacity (kWh) | Project Rated Cooling Energy Discharge Capacity (ton) | Project Equivalent Electrical Discharge Capacity from Cooling Sources (kW) | Project Rated Cooling Energy Storage Capacity (ton-hour) | Project Equivalent Electrical Storage Capacity from Cooling Sources (kWh) | Project Rated Thermal Energy Discharge Capacity (MBtu/h) | Project Equivalent Electrical Discharge Capacity from Thermal Sources (kW) | Project Rated Thermal Energy Storage Capacity (MBtu) | Project Equivalent Electrical Storage Capacity from Thermal Sources (kWh) | Developer | Installed Resources | Reporting Start Date | Reporting End Date | Alternate Name(s) | Value Streams | ConEd Target Zone | NYSERDA-funded | Heat Recovery to DHW | Heat Recovery to Space Heat | Heat Recovery to Chiller | Heat Recovery to Other Load | System Redundancy (N+1) | Black-Start/Islanding Capable | Grid Export Capable
567 | 620 | 635 | Glenwood - Liberty Plaza |  |  |  |  | August 2016 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | TRUE
568 | 621 | 636 | Glenwood - Emerald Green |  |  |  |  | August 2016 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | TRUE
569 | 622 | 637 | Glenwood - Barclay Tower |  |  |  |  | June 2013 | J - New York City | Energy Storage | 0 | 0 | 225 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
570 | 623 | 638 | Glenwood - The Brittany |  |  |  |  | August 2016 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | TRUE
571 | 624 | 639 | Glenwood - The Barclay |  |  |  |  | August 2016 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | TRUE
572 | 625 | 640 | Glenwood - Paramount Tower |  |  |  |  | July 2015 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | TRUE
573 | 409 | 422 | Marcus Garvey Apartments | Microgrid |  |  |  | June 2017 | J - New York City | Energy Storage | 0 | 0 | 300 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed BQDM; Demand Charge Reduction |  | FALSE
574 | 626 | 641 | NYC Health + Hospitals/Jacobi Campus |  | NYC Health + Hospitals/Jacobi Campus |  |  | July 2020 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | UniEnergy Technologies | 1 |  |  |  | Demand Charge Reduction |  | FALSE
575 | 627 | 642 | Glenwood - Crystal Green |  |  |  |  | December 2017 | J - New York City | Energy Storage | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
576 | 628 | 643 | Glenwood - The Bristol |  |  |  |  | 2016 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
577 | 629 | 644 | Glenwood - The Lucerne |  |  |  |  | 2017 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
578 | 630 | 645 | Glenwood - Grand Tier |  |  |  |  | 2017 | J - New York City | Energy Storage | 0 | 0 | 100 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
579 | 631 | 646 | Glenwood - Briar Hill |  |  |  |  | 2017 | J - New York City | Energy Storage | 0 | 0 | 125 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
580 | 632 | 647 | Glenwood - Hawthorn Park |  |  |  |  | December 2017 | J - New York City | Energy Storage | 0 | 0 | 125 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
581 | 633 | 648 | Glenwood - The Fairmont |  |  |  |  | December 2017 | J - New York City | Energy Storage | 0 | 0 | 125 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enel X (fka Demand Energy, EnerNOC) | 1 |  |  |  | Con Ed Demand Mgt Program; Demand Charge Reduction |  | FALSE
583 | 636 | 650 | 7-Eleven |  | 7-Eleven |  |  | October 2013 | J - New York City | Energy Storage | 0 | 0 | 27.2 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ENGIE Storage (fka Green Charge) | 1 |  |  |  | Demand Charge Reduction; Energy Supply Arbitrage - Energy Shifting; EV Charging |  | FALSE
584 | 637 | 651 | UPS Distribution Center |  | UPS A |  |  | October 2014 | J - New York City | Energy Storage | 0 | 0 | 51 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ENGIE Storage (fka Green Charge) | 1 |  |  |  | Demand Charge Reduction; Energy Supply Arbitrage - Energy Shifting |  | TRUE
585 | 637 | 651 | UPS Distribution Center |  | UPS B |  |  | October 2014 | J - New York City | Energy Storage | 0 | 0 | 51 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ENGIE Storage (fka Green Charge) | 1 |  |  |  | Demand Charge Reduction; Energy Supply Arbitrage - Energy Shifting |  | FALSE
586 | 637 | 651 | UPS Distribution Center |  | UPS C |  |  | October 2014 | J - New York City | Energy Storage | 0 | 0 | 51 | 96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ENGIE Storage (fka Green Charge) | 1 |  |  |  | Demand Charge Reduction; Energy Supply Arbitrage - Energy Shifting |  | FALSE
615 | 666 | 681 | Red Hook Recreation Center |  | Red Hook Recreation Center |  |  | 2015 | J - New York City | Energy Storage | 0 | 0 | 6 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Global Green | 1 |  |  |  | Coupled with Distr. Gen.; Resiliency |  | FALSE
694 | 737 | 750 | Brooklyn Army Terminal |  | Brooklyn Army Terminal Demo |  |  | April 2014 | J - New York City | Energy Storage | 0 | 0 | 100 | 720 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Princeton Power Systems | 1 |  |  |  | Demand Response Programs; Resiliency |  | FALSE
898 | 933 | 938 | Con Edison BQDM Utility Sided Solution |  |  |  |  | Nov 1, 2018 | J - New York City | Energy Storage | 0 | 0 | 2000 | 12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Consolidated Edison Solutions | 1 |  |  |  | Con Ed BQDM; Utility Peak Reduction |  | FALSE
945 | 978 | 981 | Via Verde |  | Via Verde |  |  | May 2019 | J - New York City | Energy Storage | 0 | 0 | 18 | 144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bright Power | 1 |  |  |  | Coupled with Distr. Gen.; Demand Charge Reduction; Resiliency |  | FALSE
1093 | 1120 | 1122 | Home A in zip code 10504 |  |  |  |  | Mar 25, 2019 | J - New York City | Energy Storage | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Tesla Energy Operations, Inc. | 1 | [5 empty] | FALSE
1187 | 1204 | 1206 | Facility A in 10031 |  |  |  |  | Mar 31, 2014 | J - New York City | Energy Storage | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Urban Electric Power | 1 | [5 empty] | FALSE
1331 | 1345 | 489 | Gateway Center |  | Gateway Plaza 1 |  |  | July 2019 | J - New York City | Energy Storage | 0 | 0 | 2400 | 8220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | EnerNOC (now Enel X) | 1 |  |  |  | Utility Peak Reduction |  | TRUE
1332 | 1346 | 489 | Gateway Center |  | Gateway Plaza 2 |  |  | July 2019 | J - New York City | Energy Storage | 0 | 0 | 2400 | 8220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | EnerNOC (now Enel X) | 1 |  |  |  | Utility Peak Reduction |  | TRUE
1402 | 1412 | 1412 | Caddell Dry Dock & Repair Co |  |  |  |  | February 2020 | J - New York City | Energy Storage | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DB Engineering | 1 | [5 empty] | FALSE
1425 | 1435 | 1436 | Home A in 11692 |  |  |  |  | September 2018 | J - New York City | Energy Storage | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | [5 empty] | FALSE
1500 | 1510 | 1511 | Home A in 10553 |  |  |  |  | Feb 1, 2019 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SolarCity (now Tesla) | 1 | [5 empty] | FALSE
1504 | 1514 | 1515 | Home A in 10301 |  |  |  |  | Nov 14, 2018 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SolarCity (now Tesla) | 1 | [5 empty] | FALSE
1514 | 1524 | 1525 | Home A in 10803 |  |  |  |  | Mar 20, 2018 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SolarCity (now Tesla) | 1 | [5 empty] | FALSE
1540 | 1550 | 1551 | Home A in 11693 |  |  |  |  | Apr 6, 2018 | K - Long Island | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SolarCity (now Tesla) | 1 | [5 empty] | FALSE
1687 | 1695 | 1696 | Home B in 10803 |  |  |  |  | Aug 4, 2020 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ConEdison Solutions | 1 | [5 empty] | FALSE
1713 | 1721 | 1722 | Home B in 11704 |  |  |  |  | Nov 14, 2018 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sunrun | 1 | [5 empty] | FALSE
1732 | 1740 | 1741 | Home A in 11755 |  |  |  |  | Feb 1, 2019 | J - New York City | Energy Storage | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Tesla Energy Operations, Inc. | 1 | [5 empty] | FALSE
1742 | 1750 | 1751 | Home B in 11776 |  |  |  |  | Mar 20, 2018 | J - New York City | Energy Storage | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Sunrun | 1 | [5 empty] | FALSE
1802 | 1810 | 1811 | Home C in 12583 |  |  |  |  | Apr 6, 2018 | J - New York City | Energy Storage | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Hudson Solar | 1 | [5 empty] | FALSE
1967 | 1969 | 2088 | Home A in 10452 |  |  |  |  | Nov 30, 2020 | J - New York City | Energy Storage |  |  | 17.25 | [9 empty] | Bright Power | 1 | [5 empty] | FALSE
1968 | 1970 | 2089 | Home A in 10505 |  |  |  |  | Nov 25, 2020 | J - New York City | Energy Storage |  |  | 11.6 | [9 empty] | SolarCity (now Tesla) | 1 | [5 empty] | FALSE
1971 | 1973 | 2092 | Home A in 10550 |  |  |  |  | Nov 20, 2020 | J - New York City | Energy Storage |  |  | 250 | [9 empty] | Solar One Energy | 1 | [5 empty] | FALSE
2118 | 2118 | 2237 | Facility A in 11217 |  |  |  |  | Dec 17, 2020 | J - New York City | Energy Storage |  |  | 800 | [9 empty] | Enel X (fka Demand Energy, EnerNOC) | 1 | [5 empty] | FALSE
2124 | 2124 | 2243 | Home C in 10705 |  |  |  |  | Jan 26, 2021 | J - New York City | Energy Storage |  |  | 7 | [9 empty] | Sunrun | 1 | [5 empty] | FALSE

## DE Resources
DE Resource ID | Project ID | System ID | Facility ID | Unit Manufacturer | Unit Model | Number of Devices | Rated Electric Generation Per Device (kW) | Total Rated Electric Generation (kW) | Rated Heat Generation Per Device (MBtu/h) | Total Rated Heat Generation (MBtu/h) | Rated Electric Discharge Capacity Per Device (kW) | Total Rated Electric Discharge Capacity (kW) | Rated Electric Storage Capacity Per Device (kWh) | Total Rated Electric Storage Capacity (kWh) | Rated Cooling Energy Discharge Capacity Per Device (ton) | Equivalent Electrical Discharge Capacity Per Device from Cooling Sources (kW) | Total Rated Cooling Energy Discharge Capacity (ton) | Total Equivalent Electrical Discharge Capacity from Cooling Sources (kW) | Rated Cooling Energy Storage Capacity Per Device (ton-hour) | Equivalent Electrical Storage Capacity Per Device from Cooling Sources (kWh) | Total Rated Cooling Energy Storage Capacity (ton-hour) | Total Equivalent Electrical Storage Capacity from Cooling Sources (kWh) | Rated Thermal Energy Discharge Capacity Per Device (MBtu/h) | Equivalent Electrical Discharge Capacity Per Device from Thermal Sources (kW) | Total Rated Thermal Energy Discharge Capacity (MBtu/h) | Total Equivalent Electrical Discharge Capacity from Thermal Sources (kW) | Rated Thermal Energy Storage Capacity Per Device (MBtu) | Equivalent Electrical Storage Capacity Per Device from Thermal Sources (kWh) | Total Rated Thermal Energy Storage Capacity (MBtu) | Total Equivalent Electrical Storage Capacity from Thermal Sources (kWh) | ESS Type | ESS Subtype | No. of Prime Movers | Primary Fuel | Prime Mover | Location | Generator | Chiller - Hot Water Driven | Chiller - Exhaust-Fired | Chiller - Steam Driven | Rated Electric Efficiency (% HHV) | Rated CHP Efficiency (% HHV) | Tilt (° from horizontal) | Azimuth (° from North) | Scrubber Type
1576 | 567 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1577 | 568 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1578 | 569 |  |  |  |  | 1 |  |  |  |  | 225 | 225 | 2000 | 2000 | [16 empty] | Battery | Lead-Acid
1579 | 570 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1580 | 571 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1581 | 572 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1582 | 573 |  |  |  |  | 1 |  |  |  |  | 300 | 300 | 1200 | 1200 | [16 empty] | Battery | Lithium Ion (LI-ION)
1583 | 574 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Vanadium Redox Flow Battery (VRB)
1584 | 575 |  |  |  |  | 1 |  |  |  |  | 125 | 125 | 300 | 300 | [16 empty] | Battery | Lead-Acid
1585 | 576 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1586 | 577 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1587 | 578 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 400 | 400 | [16 empty] | Battery | Lead-Acid
1588 | 579 |  |  |  |  | 1 |  |  |  |  | 125 | 125 | 200 | 200 | [16 empty] | Battery | Lithium Ion (LI-ION)
1589 | 580 |  |  |  |  | 1 |  |  |  |  | 125 | 125 | 500 | 500 | [16 empty] | Battery | Lead-Acid
1590 | 581 |  |  |  |  | 1 |  |  |  |  | 125 | 125 | 300 | 300 | [16 empty] | Battery | Lead-Acid
1591 | 583 |  |  |  |  | 1 |  |  |  |  | 27.2 | 27.2 | 96 | 96 | [16 empty] | Battery | Lithium Ion (LI-ION)
1592 | 584 |  |  |  |  | 1 |  |  |  |  | 51 | 51 | 96 | 96 | [16 empty] | Battery | Lithium Ion (LI-ION)
1593 | 585 |  |  |  |  | 1 |  |  |  |  | 51 | 51 | 96 | 96 | [16 empty] | Battery | Lithium Ion (LI-ION)
1594 | 586 |  |  |  |  | 1 |  |  |  |  | 51 | 51 | 96 | 96 | [16 empty] | Battery | Lithium Ion (LI-ION)
1624 | 615 |  |  |  |  | 1 |  |  |  |  | 6 | 6 | 21 | 21 | [16 empty] | Battery | Lead-Acid
1706 | 694 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | 720 | 720 | [16 empty] | Battery | Lead-Acid
1911 | 898 |  |  |  |  | 1 |  |  |  |  | 2000 | 2000 | 12000 | 12000 | [16 empty] | Battery | Lithium Ion (LI-ION)
1958 | 945 |  |  |  |  | 1 |  |  |  |  | 18 | 18 | 144 | 144 | [16 empty] | Battery
2105 | 1093 |  |  |  |  | 1 |  |  |  |  | 10 | 10 | [18 empty] | Battery | Lithium Ion (LI-ION)
2195 | 1187 |  |  |  |  | 1 |  |  |  |  | 100 | 100 | [18 empty] | Battery | Zinc Manganese Dioxide (UEP)
2338 | 1331 |  |  |  |  | 1 |  |  |  |  | 2400 | 2400 | 8220 | 8220 | [16 empty] | Battery | Lithium Ion (LI-ION)
2339 | 1332 |  |  |  |  | 1 |  |  |  |  | 2400 | 2400 | 8220 | 8220 | [16 empty] | Battery | Lithium Ion (LI-ION)
2407 | 1402 |  |  |  |  | 1 |  |  |  |  | 1000 | 1000 | [18 empty] | Battery | Lithium Ion (LI-ION)
2430 | 1425 |  |  |  |  | 1 |  |  |  |  | 18 | 18 | [18 empty] | Battery
2505 | 1500 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2509 | 1504 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2519 | 1514 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2545 | 1540 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2692 | 1687 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2718 | 1713 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2737 | 1732 |  |  |  |  | 1 |  |  |  |  | 10 | 10 | [18 empty] | Battery
2747 | 1742 |  |  |  |  | 1 |  |  |  |  | 5 | 5 | [18 empty] | Battery
2807 | 1802 |  |  |  |  | 1 |  |  |  |  | 19 | 19 | [18 empty] | Battery
2974 | 1967 |  |  |  |  | 1 |  |  |  |  | 17.25 | 17.25 | [18 empty] | Battery
2975 | 1968 |  |  |  |  | 1 |  |  |  |  | 11.6 | 11.6 | [18 empty] | Battery
2978 | 1971 |  |  |  |  | 1 |  |  |  |  | 250 | 250 | [18 empty] | Battery
3124 | 2118 |  |  |  |  | 1 |  |  |  |  | 800 | 800 | [18 empty] | Battery
3130 | 2124 |  |  |  |  | 1 |  |  |  |  | 7 | 7 | [18 empty] | Battery

## Ancillary Equipment
Project IDs | Facility/System Name | Chiller ID | H2S Scrubber ID | HRSG ID | Unit Name